# Manufacturer's Instructions and Information

## Instructions for Use to be included on each box of surgical face mask clips:

**Disposable Surgical Mask Clips 002**

DIRECTIONS FOR USE: This product is designed and intended only as a method of securing the elastic ear loops on surgical masks. This is a single use product. Dispose of product after use.

One Size fits all. NON-STERILE.

THIS PRODUCT IS NOT CE-MARKED. IT IS **ONLY** FOR USE DURING THE COVID-19 OUTBREAK

LOT NUMBER LLLL

Manufactured on dd/mm/yyyy

Class I medical device

Clinical Engineering, Box 152, Addenbrooke's Hospital, Cambridge, CB2 0QQ

**Monitoring compliance with and the effectiveness of this document**

This process forms part of a quality system accredited to International Standard EN ISO 9001:2015, EN ISO 13485:2016 and BS 70000:2017. The effectiveness of the process will be monitored in accordance with the methods given in the Quality Manual (CE-QS-QAM-4).

**Equality and diversity statement**

This document complies with the Cambridge University Hospitals NHS Foundation Trust service equality and diversity statement.

**Disclaimer**

It is **your** responsibility to check against the electronic library that this printed out copy is the most recent issue of this document.

**Document management**

|  |  |  |  |
| --- | --- | --- | --- |
| Approval: |  | | |
| MDAG approval: |  | | |
| Owning department: | Clinical Engineering Innovation | | |
| Author(s): | Sarah Greasley | | |
| Pharmacist: | n/a | | |
| File name: | Device Verification and Validation | | |
| Supersedes: | n/a | | |
| Version number: | 1.0 | Review date: | n/a |
| Local reference: |  | Document ID: |  |